## Slide 1: CALICE Overview
David Bailey, Manchester

## Slide 2: Themes
Hardware
  MAPS
  DAQ
  Glue/Mechanics
Physics
  Ongoing studies
  Eagerly anticipated results and upcoming conferences
Future
  DevDet etc.

## Slide 3: MAPS
Selected highlights...
  Anne-Marie

## Slide 4: DAQ
Hardware
  Marc
  Maurice/Bart
Software
  Valeria & Tau

## Slide 5: DAQ Architecture
PC
LDA
CCC-link
ODR
Data-link
DIF
ASICs
DIF
ASICs
DIF
ASICs
…
Clock /
Fast
Control
ODR
Store

## Slide 6: LDA Hardware Delivered

## Slide 7: LDA Hardware

## Slide 8: Firmware

## Slide 9: ECAL SLAB Interconnect
DAQ Architecture - Overall view
ODR
LDA
LDA
SLAB
DIF
SLAB
DIF
SLAB
DIF
SLAB
DIF
SLAB
DIF
SLAB
DIF
LDA
LDA
~150 VFE ASICs on each side of SLAB

## Slide 10: ECAL SLAB Interconnect – Why Multi-Rows?
How to read them out – single path or in 4 rows?
Per ASU: L ~ 720mm, C ~ 72pF
Per ASU: L ~ 180mm, C ~ 18pF
Per Slab of 9 ASUs:
L ~ 6.5m, C ~ 650pF
Per Slab of 9 ASUs:
L ~ 1.6m, C ~ 160pF
Do these look BIG ??
ASU(n)
4 rows
ASU(n+1)
ASU(n)
Single path

## Slide 11: ECAL SLAB Interconnect
We have been looking at using “Bridges” to jumper multiple connections between adjacent ASUs
The Bridge would be soldered onto pads on the ASU (or DIF) PCB
Each Bridge would provide 30-40 connections
Up to 4 Bridges fit in the width of an ASU
… 1 per path would be an ideal solution 

## Slide 12: ECAL SLAB Interconnect
Short FFC (Flat,Flexible-Cable) Bridges make connections on a 1mm pitch – OK for at least 120 connections
FFC-Bridge
ASU
ASU
Alternatively the Bridges can be thin PCBs, also with 1mm pitch connections. This gives a mechanical as well as electrical joint
PCB-Bridge
ASU
ASU
800um
800um
Solder
Track
Solder
Track

## Slide 13: ECAL SLAB Interconnect – Where we are
FFC-Bridges: we have 250 cut, 250 on roll
Top View
Under View
Thin traces on Kapton backing

## Slide 14: ECAL SLAB Interconnect – Where we are
ASU-Test PCB: we have 15
Top View
180 x 180mm – as current ASU size
Interconnect region 400um
4 identical rows of differential tracks connecting 36 way interconnect pads on left and right
Can be sliced into 4 sections, so provides for many trials
Differential tracks have a range of spacings & other charcteristics to test signal propagation and cross-talk
Central region thickened to 800um

## Slide 15: ECAL SLAB Interconnect – Where we are
Using the IR Re-work station
3 bits of ASU-Test being joined: reflow of 2nd and 3rd

## Slide 16: ECAL SLAB Interconnect: Conclusions
There are major advantages in using Bridges:
  Removes major bottleneck in number of connections
  Promises greater reliability
  Rework likely to be easier
There’s a lot to be done:
  We are trying out many things
  LAL Mechanical Prototype will also test PCB-Bridge mechanics
We are finding answers:
  1mm pitch connections with continuity and no shorts
  IR re-flow looking very good:
    ERSA Re-work station OK
    Home-brew Imaging IR source may fit well into large-scale assembly procedures: full width re-flow, multiple heads,…

## Slide 17: DOOCS overview
hardware
User
Interface
Program
Interface
Middle
Layer
Hardware
interface
3 layers
common APIs
modular design
multi protocol
(RPC, TINE,
EPICS, shared
memory)
device level
(~200 server
types)
middle layer
(FSM, FB, DAQ)

## Slide 18: ENS naming service
Example:
CALICE.ECAL/ODR/ODR1/STATUS

## Slide 19: ENS naming service: hierachical DAQ system
LDA
PC
e.g. ECAL
Slab
DIF
ODR
Driver
Opto
Opto
send data to DIF by wrapper through ODR and LDA (have switch to configure debugging modes which go directly to the LDA or DIF)
ENS naming service can signal connections by additional properties, e.g. for device DIF:
CALICE.ECAL/DIF/DIF1/ODR_CON
CALICE.ECAL/DIF/DIF1/LDA_CON
CALICE.ECAL/DIF/DIF1/DEBUG_MODE

## Slide 20: Example of monitoring GUI

## Slide 21: Glue/Mechanics
Sticky stuff

## Slide 22
The baseboard before overlaying glass plate

## Slide 23
Ø1.6mm
Glass Plate #2
0.2 sec per dot
Mid spacers under plate
Ø2.0mm
Ø2.5mm
Ø3.6mm

## Slide 24
12 x 6 dots @0.2 sec on CALICE test board
Two boards sandwiched together, 66µm gap
Interpad links cut on top board
Resistances between overlapping pads measured –
<0.005Ω per pad

## Slide 25: Physics
Neural Networks
G4 physics lists and data

## Slide 26: Upcoming Conferences and Plans
Upcoming Conferences
  CALOR’08 (Pavia, 26-30 May)
  ECFA ILC Workshop (Warsaw, 9-12 June)
  NDIP 2008 (Aix les Bains, 15-20 June)
  ICHEP’08 (Philadelphia, 29 July-5 August)
  PSD8 (Glasgow, 1-5 September)
  IEEE (Dresden, 19-25 October)
  IPRD08 (Siena, 1-4 October)
16 Abstracts submitted to CALOR’08; 4 to ICHEP.
Papers/Analysis notes
  ECAL Commissioning paper (Anne-Marie)
  ECAL electron response paper (Cristina)
  Three AHCAL notes planned
  “Final” ScEcal note on 2007 data

## Slide 27: Future
DevDet
  UK involved in ECAL and DAQ workpackages
    Low level participation to keep our fingers in the pie...
STFC SOIs
  Due in May
  MAPS and DAQ under consideration