QUOTATION-0397

Validity-30 days

| To/Name |  | Simon Jolly |  |  |
| --- | --- | --- | --- | --- |
| Company |  | Imperial College | Quotation N° | Q0397 |
| Address |  | Blackett Laboratory Physical Sciences R514 Prince Consort Road South Kensington London SW7 2BW | Date | January 10th , 2006 |
| Tel |  | 020 7594 7795 | pp | 1/ 3 |
| Email |  | s.jolly@imperial.ac.uk |  |  |

Dear Simon

Please find enclosed the quotation you required for the PCO1600, PCO2000 and Sensicam QE CCD cameras from PCO.

See datasheets enclosed for technical specifications

| Line number | Model number | Description | Qty | Unit Price £ |
| --- | --- | --- | --- | --- |
| 1, | PCO1600 | 14 bit CCD camera 1600x1200 pixel resolution. With C mount. Standard interface of IEEE1394 (firewire) Thermo-electric cooling of -50C vs ambient. Excellent low noise of 12e- rms @10MHz. Image memory in camera (CamRAM 512MB). B/w or colour sensor. Comes with SDK and Camware software | 1 | 10650.00 |
| 1.1, | PCO1600 with 1GB memory | As in item 1 description above but with 1GB image memory (CamRAM) | 1 | 10860.00 |
| 1.2, | PCO1600 with 2GB memory | As in item 1 description above but with 2GB image memory (CamRAM) | 1 | 11715.00 |
| 1.3, | PCO1600 with 4GB memory | As in item 1 description above but with 4GB image memory (CamRAM) | 1 | 13000.00 |
| 2 | PCO2000 | 14 bit CCD camera 2048x2048 pixel resolution. With C mount. Standard interface of IEEE1394 (firewire) Thermo-electric cooling of -50C vs ambient. Excellent low noise of 10e- rms @10MHz. Image memory in camera (CamRAM 512MB). B/w or colour sensor. Comes with SDK and Camware software | 1 | 14215.00 |
| 2.1 | PCO1600 with 1GB memory | As in item 2 description above but with 1GB image memory (CamRAM) | 1 | 14430.00 |
| 2.2 | PCO1600 with 2GB memory | As in item 2 description above but with 2GB image memory (CamRAM) | 1 | 15285.00 |
| 2.3 | PCO1600 with 4GB memory | As in item 2 description above but with 4GB image memory (CamRAM) | 1 | 16570.00 |
| 3 | PCO Sensicam QE b/w CCD with Coaxial cable | Cooled digital 12 bit b/w CCD camera system. High resolution 1376 x1040 pixels Superior quantum efficiency up to 65% Thermo-electrical cooling (Peltier) of CCD image sensor down to -12C Extremely low noise down to 4e- rms Binning (horizontal & vertical) Serial link 5m coaxial cable PCI card and Camware software included. | 1 | 8935.00 |
| 3.1 | PCO Sensicam QE b/w CCD with fibre optic cable | As in item 2 but with fibre optic link instead of coaxial cable | 1 | 9510.00 |

Delivery typically 4 weeks ARO for PCO1600 and PCO2000, 2-3 weeks for Sensicam QE.

Sales Conditions :

(a) Quotation is valid for 30 days

(b) Payment terms are 30 days Nett, subject to credit approval.

(c) Prices exclude VAT and delivery charges of £35 per shipment

(d) Photon Lines Ltd terms and conditions apply.

If you need any further information please feel free to contact me

Best regards,

Jason Marvin

JCMarvin

Technical Sales Manager

Photon Lines Ltd

Email:ja-marvin@photonlines.com