QUOTATION

 69594 
Simon Jolly
Imperial College London
South Kensington Campus
London, London  SW7 2AZ

Tel : +44 (0) 207 59 47795
Fax : 
E-mail : s.jolly@imperial.ac.uk
Issue Date:
Valid Until:
Application
04‑Feb‑2007
05‑Jan‑2007
Unit Price
Total Price
Item
Qty
Part Number and Description
Other
 1
 1
8108-0007 - 7455-0008 / 6050-0336
PI-MAX 1300HB-25mm-43-Filmless
£28,500.00
£27,075.00
 PI-MAX:1300 Digital ICCD Camera System
• Exclusive scientific grade 1, front-illuminated CCD, 1340x1300 pixels
• 1:1 fiber-optic bonded  25mm Grade 1, Gen III - HB filmless image intensifier
• 20 x 20 µm pixels (25.0 mm dia. image area)
• TTL gating input
• Sealed operation, no N2 purge required
see data sheet for current specifications
Special - 25mm HB filmless tube. Not unigen as shown here.
 2
 1
8108-0001 - 7455-0001 / 6050-0336
PI-MAX 1300RB-25-FG-43
£19,950.00
£18,952.50
PI Acton PI-MAX:1300RB Digital ICCD Camera System
• Exclusive scientific grade 1, front-illuminated CCD, 1340x1300 pixels
• 1:1 fiber-optic bonded  25mm Grade 1, Gen II image intensifier
• 20 x 20 µm pixels (25.0 mm image area)
• <8ns gating capable   • MCP bracket pulsing   • TTL gating input
• Sealed operation, no N2 purge required   • P43 phosphor
see data sheet for current specifications
 3
 1
7513-0001
ST-133B/U-PTG-DUAL
£6,800.00
£6,460.00
ICCD USB2 Controller with 16-bit 100-kHz & 16-bit 1-MHz digitizers, PTG
(requires USB2-5M cable 6050-0494)
 4
 1
7389-0002
F-MNT-PIMAX
£150.00
£142.50
PI-MAX F-Mount
 5
 1
ARC-SP 2356
SP 2356
£4,700.00
£4,465.00
PI Acton SpectraPro SP-2356 Imaging Spectrograph
• 300mm focal length, micrometer controlled entrance slit
• triple grating turret, provides 90° optical path
• includes standard multichannel detector adpator flange
 6
 1
ARC-SP 2358
SP 2358
£5,300.00
£5,035.00
Page 1 of 2
REGISTERED IN ENGLAND # 2509935  A DIVISION OF ROPER INDUSTRIES LIMITED
(Registered Office) WESTERN WAY, BURY ST. EDMUNDS, SUFFOLK IP33 3SZ, UK.
VAT Reg. No. GB 571 0884 35
http://www.piacton.com

PI Acton SpectraPro SP-2358 Imaging Spectrograph and Monochromator
• 300mm focal length, micrometer controlled entrance slit 
• micrometer controlled exit slit, motorized exit mirror
• includes standard multichannel detector adaptor flange 
• triple grating turret, provides 90° and 180° optical path
 7
 1
ARC-1-030-500
1-030-500
£400.00
£380.00
Ruled Grating, 68x68mm, 300 G/mm with 500nm blaze wavelength
 8
 1
ARC-1-060-500
1-060-500
£400.00
£380.00
Ruled Grating, 68x68mm, 600 G/mm with 500nm blaze wavelength
 9
 1
ARC-1-120-500
1-120-500
£450.00
£427.50
Ruled Grating, 68x68mm, 1200 G/mm with 500nm blaze wavelength
 10
 1
4412-0046
WinView/32
£900.00
£855.00
Real-time acquisition, display, and data processing software for Microsoft Windows 2000/XP
-5% TOTAL 
Total Price
£
Discount (Class: Educational):
Final prices are in Sterling exclusive of VAT or Taxes. 
Payment Terms: Net 30 Days
Shipping Method: Destination
Carriage paid.
Warranty: 12 months after delivery
Delivery Approximately: 90 Days ARO or sooner following the receipt of your order.  All orders are subject to prior orders.

Authorized by:
John McCaffrey
Regional Manager UK & Ireland
29 DerryLodge Manor, Lurgan, BT66 6RY
Tel: +44 (0)2838 310171   Mob: +44 (0)797 3238983
E-mail: jmccaffrey@piacton.com
Page 2 of 2
REGISTERED IN ENGLAND # 2509935  A DIVISION OF ROPER INDUSTRIES LIMITED
(Registered Office) WESTERN WAY, BURY ST. EDMUNDS, SUFFOLK IP33 3SZ, UK.
VAT Reg. No. GB 571 0884 35
http://www.piacton.com